Capturing info from manufacturers of COVID-19 test kits

| Name of Manufacturer: |  |
| --- | --- |
| Name of supplier/distributor/Authorised Representative: |  |
| Name of kit / catalogue number: |  |

Criteria					Details				Acceptable? Y/N

| BASIC Performance and test info |  |  |  |
| --- | --- | --- | --- |
| 1 | Intended use Self-test or professional user tst |  |  |
| 2 | Performance evidence: Details of all validation work completed, incl. numbers of samples, range etc. |  |  |
| 2.1 | Ideal time to take test for most accurate result (days post symptoms?) |  |  |
| 2.2 | Analytical specificity |  |  |
| 2.3 | Clinical sensitivity |  |  |
| 2.4 | Antibody being detected IgM, IgG, IgA |  |  |
| 2.5 | Sample type: Blood via finger prick (also whole blood, serum) Plasma Nasopharyngeal swab Other swab |  |  |
| .6 | What other equipment or consumables are needed to perform the test and analyse the specimen |  |  |
| 2.7 | How to store and transport the test the sample and or test |  |  |
| 2.8 | Consumable availability (lancet/swab) Supplied with test kit? Alternative supply required? |  |  |
| TAKING THE TEST |  |  |  |
| 3.1 | Number of steps for the test to be taken |  |  |
| 3.2 | Evidence of successful test i.e. control line |  |  |
| 3.3 | Time to take test Time to get result |  |  |
| 3.4 | How to interpret the test |  |  |
| 3.5 | Disposal of test kit advice |  |  |
| COMMERCIALISATION |  |  |  |
| 4.1 | CE marked? Y/N If Y then details of the Registration in an EU Member State and, if self-test, a copy of the CE certification from an NB. |  |  |
| 4.2 | Other regulatory authority approval granted |  |  |
| 4.3 | How many tests can you supply and by when |  |  |
| 4.4 | What are the costs per test? Any other costs? |  |  |
| 4.5 | What other forward commitments can you make |  |  |
| 4.6 | Have you any plans or capability for gathering the test results and recording them for epidemiology and PMS purposes |  |  |
| 4.7 | PROVIDE THE IFU |  |  |
| 4.8 | Website or link to other documents |  |  |
| ANY OTHER IMPORTANT AND RELEVANT INFO WITH LINKS, ATTACHMENTS ETC. Please refer to our webpage on exceptional use. |  |  |  |